Carter: Digital Radiography and PACS

Chapter 01: Introduction to Digital Radiography and PACS

Test Bank

MULTIPLE CHOICE

1.	Film and intensifying screens are primarily used in ______.

| a. | Computed radiography |
| --- | --- |
| b. | Digital radiography |
| c. | Conventional radiography |
| d. | Picture archival and communication systems |

ANS:	C	OBJ:	Define digital imaging and communications in medicine.

TOP:	Conventional radiography

2.	Intensifying screens ______.

| a. | Absorb light |
| --- | --- |
| b. | Emit light |
| c. | Absorb scatter |
| d. | Emit positive electrons |

ANS:	B	OBJ:	Explain latent image formation for conventional radiography.

TOP:	Conventional radiography

3.	Light exposing the film is in direct proportion to the amount and energy of the incident photon upon the screen.

| a. | True |
| --- | --- |
| b. | False |

ANS:	A	OBJ:	Explain latent image formation for conventional radiography.

TOP:	Conventional radiography

4.	Which modality was the first to use the principle of digital imaging?

| a. | CT |
| --- | --- |
| b. | MRI |
| c. | Ultrasonography |
| d. | Cardiac catheterization |

ANS:	A	OBJ:	Define digital imaging and communications in medicine.

TOP:	Digital imaging

5.	Who was the first to incorporate digital imaging with the CT scanner?

| a. | Paul Lauterbor |
| --- | --- |
| b. | Godfrey Hounsfield |
| c. | Sol Nudelman |
| d. | M. Paul Capp |

ANS:	B	OBJ:	Define digital imaging and communications in medicine.

TOP:	Digital imaging

6.	The latest modality to incorporate digital imaging with their image acquisition is ______.

| a. | MRI |
| --- | --- |
| b. | Radiography |
| c. | Ultrasonography |
| d. | Mammography |

ANS:	D	OBJ:	Define digital imaging and communications in medicine.

TOP:	Digital imaging

7.	The invention of computed tomography is heralded as ______.

| a. | The advanced use of three-dimensional computation in medical imaging |
| --- | --- |
| b. | One of the greatest milestones in medical imaging |
| c. | The stepping stone for the development of MRI |
| d. | The first modality to use PACS |

ANS:	B	OBJ:	Define digital imaging and communications in medicine.

TOP:	Historical development of digital imaging

8.	The earliest computed tomography of the head took several hours to acquire a single slice of information.

| a. | True |
| --- | --- |
| b. | False |

ANS:	A	OBJ:	Define digital imaging and communications in medicine.

TOP:	Historical development of digital imaging

9.	Early reconstruction of raw computed tomography data took a few ______ to form a recognizable image.

| a. | Minutes |
| --- | --- |
| b. | Hours |
| c. | Days |

ANS:	C	OBJ:	Define digital imaging and communications in medicine.

TOP:	Historical development of digital imaging

10.	The first commercial CT scanners could image the ______.

| a. | Abdomen only |
| --- | --- |
| b. | Head only |
| c. | Head and abdomen |
| d. | Total body |

ANS:	B

OBJ:	Describe the latent image formation process for computed radiography.

TOP:	Historical development of digital imaging

11.	In which decade was MRI first introduced?

| a. | 1950s |
| --- | --- |
| b. | 1960s |
| c. | 1970s |
| d. | 1980s |

ANS:	D	OBJ:	Define digital imaging and communications in medicine.

TOP:	Historical development of digital imaging

12.	Which two modalities could easily be converted to digital imaging properties?

| a. | CT and ultrasonography |
| --- | --- |
| b. | CT and MRI |
| c. | Ultrasonography and nuclear medicine |
| d. | Nuclear medicine and CT |

ANS:	C	OBJ:	Define digital imaging and communications in medicine.

TOP:	Historical development of digital imaging

13.	Early picture archival and communication systems were first developed ______.

| a. | In Canada |
| --- | --- |
| b. | By the U.S. military |
| c. | By Albert Jutras |
| d. | By NASA |

ANS:	B	OBJ:	Explain what a PACS is and how it is used.

TOP:	Digital radiography

14.	Teleradiography incorporated ______ to produce radiographic images.

| a. | Satellite feeds |
| --- | --- |
| b. | Cable lines |
| c. | T1 cables |
| d. | Telephone lines |

ANS:	D	OBJ:	Explain what a PACS is and how it is used.

TOP:	Digital radiography

15.	One of the early goals related to the development of PACS was to ______.

| a. | Reduce costs related to overstaffing |
| --- | --- |
| b. | Allow radiologists to read stat films from a hospital while at home |
| c. | Provide a means to move battlefield images to an established hospital |
| d. | Eliminate the need for chemical processing |

ANS:	C	OBJ:	Explain what a PACS is and how it is used.

TOP:	Digital radiography

16.	Computed radiography acquires an image through ______.

| a. | Conventional film/screen processing using a digital scanner |
| --- | --- |
| b. | The heating of a thermoluminescent device |
| c. | An electrically charged cassette |
| d. | The use of a storage phosphor plate |

ANS:	D

OBJ:	Describe the latent image formation process for computed radiography.

TOP:	Computed radiography

17.	When switching from a conventional diagnostic radiography room to one that incorporates computed radiography, major equipment changes are to be expected.

| a. | True |
| --- | --- |
| b. | False |

ANS:	B

OBJ:	Describe the latent image formation process for computed radiography.

TOP:	Computed radiography

18.	Storage phosphor plates are similar to ______.

| a. | Intensifying screens |
| --- | --- |
| b. | Xeromammography cassettes |
| c. | Flat panel detectors |
| d. | Cardboard cassette |

ANS:	A

OBJ:	Describe the latent image formation process for computed radiography.

TOP:	Computed radiography

19.	In a digital radiography system, which of the following are needed to produce a radiographic image?

| a. | X-ray absorber and a CCD |
| --- | --- |
| b. | Intensifying screen and a TFT |
| c. | Storage phosphor plate and a CCD |
| d. | Storage phosphor plate and a TFT |

ANS:	A

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Digital radiography

20.	Like CR, DR can use the existing diagnostic equipment found in today’s imaging departments.

| a. | True |
| --- | --- |
| b. | False |

ANS:	B

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Digital radiography

21.	Indirect capture DR converts absorbed x-ray energy into visible light.

| a. | True |
| --- | --- |
| b. | False |

ANS:	A

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Digital radiography

22.	The two elements needed to convert light signals into an electrical signal while using indirect capture DR are TFT and ______.

| a. | Photodiodes |
| --- | --- |
| b. | Photoconductors |
| c. | Phototransistors |
| d. | Photostators |

ANS:	A

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Digital radiography

23.	The x-ray absorber typically used in direct capture DR is a ______.

| a. | Photodiode |
| --- | --- |
| b. | Phototransistor |
| c. | Photoconductor |
| d. | Photoelectron |

ANS:	C

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Digital radiography

24.	A Bucky apparatus is required for digital radiography.

| a. | True |
| --- | --- |
| b. | False |

ANS:	B

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

25.	Technologist efficiency ratings are generally the same when comparing conventional radiography to ______ radiography.

| a. | Computed |
| --- | --- |
| b. | Digital |

ANS:	A

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

26.	Compared with a 90-second processing time found in conventional radiography, image acquisition with DR has now been reduced to ______.

| a. | Instantaneous acquisition |
| --- | --- |
| b. | 1 to 2 seconds |
| c. | 3 to 5 seconds |
| d. | 6 to 8 seconds |

ANS:	C

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

27.	In conventional radiography film processing, the sensitivity speck has this electrical charge.

| a. | Neutral |
| --- | --- |
| b. | Positive |
| c. | Negative |

ANS:	C

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

28.	The active element in a storage phosphor is ______.

| a. | Lithium |
| --- | --- |
| b. | Glutaraldehyde |
| c. | Europium |
| d. | Barium fluorohalide |

ANS:	D

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

29.	In reference to CR, to release the latent image, which of the following devices is scanned over the phosphor plate?

| a. | Photomultiplier tube |
| --- | --- |
| b. | Fluorescent light |
| c. | Focused laser light |
| d. | Lithium crystal |

ANS:	C

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

30.	Which of the following best describes the sequence for image acquisition using computed radiography?

| a. | Phosphor plate, focused laser light scanner, photomultiplier, digital–analog converter, review station |
| --- | --- |
| b. | Phosphor plate, focused laser light scanner, photodensitometer, digital–analog converter, review station |
| c. | Phosphor plate, focused laser light scanner, photodensitometer, analog–digital converter, review station |
| d. | Phosphor plate, focused laser light scanner, photomultiplier, analog–digital converter, review station |

ANS:	D

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

31.	X-ray energy related to direct capture DR will stimulate a ______, which eventually is changed into an electrical signal.

| a. | Photodensitometer |
| --- | --- |
| b. | Scintillator |
| c. | TFT array |
| d. | Charge-coupled device |

ANS:	B

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

32.	The ______ converts x-ray energy directly to a digital electrical signal.

| a. | Photoconductor |
| --- | --- |
| b. | Photomultiplier |
| c. | Scintillator |
| d. | TLD |

ANS:	A

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

33.	Another name for exposure latitude is ______.

| a. | Characteristic response |
| --- | --- |
| b. | Linear manner |
| c. | Subject contrast |
| d. | Dynamic range |

ANS:	D

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

34.	A look-up table maps ______.

| a. | Latent images |
| --- | --- |
| b. | Subject contrasts |
| c. | Image gray scale values |
| d. | Optical density |

ANS:	C

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

35.	With conventional radiography, optical density is primarily controlled by ______.

| a. | Kilovoltage |
| --- | --- |
| b. | Milliamperage |
| c. | Line voltage |
| d. | Milliampere-seconds |

ANS:	D

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

36.	Barium fluorohalide phosphor screens have a k-edge at ______ keV.

| a. | 32 |
| --- | --- |
| b. | 35 |
| c. | 37 |
| d. | 40 |

ANS:	C

OBJ:	Compare and contrast the latent image formation process for independent and dependent capture digital radiography.	TOP:	Comparison of film to CR and DR

37.	The first full-scale PACS was first used in 1993 in ______.

| a. | Boston |
| --- | --- |
| b. | Philadelphia |
| c. | New York |
| d. | Baltimore |

ANS:	D	OBJ:	Explain what a PACS is and how it is used.

TOP:	Picture archival and communication systems

38.	Many PACS reading stations also have image-processing capabilities.

| a. | True |
| --- | --- |
| b. | False |

ANS:	A	OBJ:	Explain what a PACS is and how it is used.

TOP:	PACS uses

39.	DICOM is a standard that allows imaging modalities and PACS to communicate in the same language.

| a. | True |
| --- | --- |
| b. | False |

ANS:	A	OBJ:	Explain what a PACS is and how it is used.

TOP:	PACS uses

40.	All of the following are components of a PACS except ______.

| a. | Independent kilovoltage peak and milliampere-second stations |
| --- | --- |
| b. | Web access |
| c. | Multiple interfaces |
| d. | Reading stations |

ANS:	A	OBJ:	Explain what a PACS is and how it is used.

TOP:	PACS uses